## PF4-40-40P Migration by Cat. No
Catalog Number | Description | Enclosure Type | Discontinue Date* | Recommended Replacement** | Recommended Replacement Description
22A-A1P4N103 | PowerFlex 4- 0.2 kW (0.25 HP) AC Drive | Panel Mount - IP20, NEMA/UL Type Open | 2024-10-01 | 25A-A1P6N104 | PowerFlex 523 0.2kW (0.25Hp) AC Drive
22A-A1P4N113 | PowerFlex 4- 0.2 kW (0.25 HP) AC Drive | Panel Mount - IP20, NEMA/UL Type Open | 2024-10-01 | 25A-A1P6N114 | PowerFlex 523 0.2kW (0.25Hp) AC Drive | * Discontinue Date Subject to Change
22A-A1P5F104 | PowerFlex 4 0.2 kW (0.25 Hp) AC Drive | Flange Mount - IP20, NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | ** Recommended Replacement listed is the closest catalog number match and is just a guide; other catalog numbers could work as well. We suggest to review the application to select the most appropriate PF520 catalog number as a replacement.
22A-A1P5H204 | PowerFlex 4 0.2 kW (0.25 Hp) AC Drive | Plate Drive - IP20,NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22A-A1P5N104 | PowerFlex 4- 0.2 kW (0.25 HP) AC Drive | Panel Mount - IP20, NEMA/UL Type Open | 2024-10-01 | 25A-A1P6N104 | PowerFlex 523 0.2kW (0.25Hp) AC Drive
22A-A1P5N114 | PowerFlex 4- 0.2 kW (0.25 HP) AC Drive | Panel Mount - IP20, NEMA/UL Type Open | 2024-10-01 | 25A-A1P6N114 | PowerFlex 523 0.2kW (0.25Hp) AC Drive
22A-A2P1N103 | PowerFlex 4- 0.4 kW (0.5 HP) AC Drive | Panel Mount - IP20, NEMA/UL Type Open | 2024-10-01 | 25A-A2P5N104 | PowerFlex 523 0.4kW (0.5Hp) AC Drive
22A-A2P1N113 | PowerFlex 4- 0.4 kW (0.5 HP) AC Drive | Panel Mount - IP20, NEMA/UL Type Open | 2024-10-01 | 25A-A2P5N114 | PowerFlex 523 0.4kW (0.5Hp) AC Drive
22A-A2P3F104 | PowerFlex 4 0.4 kW (0.5 Hp) AC Drive | Flange Mount - IP20, NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22A-A2P3H204 | PowerFlex 4 0.4 kW (0.5 Hp) AC Drive | Plate Drive - IP20,NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22A-A2P3N104 | PowerFlex 4- 0.4 kW (0.5 HP) AC Drive | Panel Mount - IP20, NEMA/UL Type Open | 2024-10-01 | 25A-A2P5N104 | PowerFlex 523 0.4kW (0.5Hp) AC Drive
22A-A2P3N114 | PowerFlex 4- 0.4 kW (0.5 HP) AC Drive | Panel Mount - IP20, NEMA/UL Type Open | 2024-10-01 | 25A-A2P5N114 | PowerFlex 523 0.4kW (0.5Hp) AC Drive
22A-A3P6N103 | PowerFlex 4- 0.75 kW (1 HP) AC Drive | Panel Mount - IP20, NEMA/UL Type Open | 2024-10-01 | 25A-A4P8N104 | PowerFlex 523 0.75kW (1Hp) AC Drive
22A-A3P6N113 | PowerFlex 4- 0.75 kW (1 HP) AC Drive | Panel Mount - IP20, NEMA/UL Type Open | 2024-10-01 | 25A-A4P8N114 | PowerFlex 523 0.75kW (1Hp) AC Drive
22A-A4P5F104 | PowerFlex 4 0.75 kW (1 Hp) AC Drive | Flange Mount - IP20, NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22A-A4P5H204 | PowerFlex 4 0.75 kW (1 Hp) AC Drive | Plate Drive - IP20,NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22A-A4P5N104 | PowerFlex 4- 0.75 kW (1 HP) AC Drive | Panel Mount - IP20, NEMA/UL Type Open | 2024-10-01 | 25A-A4P8N104 | PowerFlex 523 0.75kW (1Hp) AC Drive
22A-A4P5N114 | PowerFlex 4- 0.75 kW (1 HP) AC Drive | Panel Mount - IP20, NEMA/UL Type Open | 2024-10-01 | 25A-A4P8N114 | PowerFlex 523 0.75kW (1Hp) AC Drive
22A-A6P8N103 | PowerFlex 4- 1.5 kW (2 HP) AC Drive | Panel Mount - IP20, NEMA/UL Type Open | 2024-10-01 | 25A-A8P0N104 | PowerFlex 523 1.5kW (2Hp) AC Drive
22A-A6P8N113 | PowerFlex 4 1.5 kW (2 Hp) AC Drive | Panel Mount - IP20, NEMA/UL Type Open | 2024-10-01 | 25A-A8P0N114 | PowerFlex 523 1.5kW (2Hp) AC Drive
22A-A8P0F104 | PowerFlex 4 1.5 kW (2 Hp) AC Drive | Flange Mount - IP20, NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22A-A8P0H204 | PowerFlex 4 1.5 kW (2 Hp) AC Drive | Plate Drive - IP20,NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22A-A8P0N104 | PowerFlex 4- 1.5 kW (2 HP) AC Drive | Panel Mount - IP20, NEMA/UL Type Open | 2024-10-01 | 25A-A8P0N104 | PowerFlex 523 1.5kW (2Hp) AC Drive
22A-A8P0N114 | PowerFlex 4- 1.5 kW (2 HP) AC Drive | Panel Mount - IP20, NEMA/UL Type Open | 2024-10-01 | 25A-A8P0N114 | PowerFlex 523 1.5kW (2Hp) AC Drive
22A-A9P6N103 | PowerFlex 4- 2.2 kW (3 HP) AC Drive | Panel Mount - IP20, NEMA/UL Type Open | 2024-10-01 | 25A-A011N104 | PowerFlex 523 2.2kW (3Hp) AC Drive
22A-A9P6N113 | PowerFlex 4 2.2 kW (3 Hp) AC Drive | Panel Mount - IP20, NEMA/UL Type Open | 2024-10-01 | 25A-A011N114 | PowerFlex 523 2.2kW (3Hp) AC Drive
22A-B012F104 | PowerFlex 4 2.2 kW (3 Hp) AC Drive | Flange Mount - IP20, NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22A-B012H204 | PowerFlex 4 2.2 kW (3 Hp) AC Drive | Plate Drive - IP20,NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22A-B012N104 | PowerFlex 4- 2.2 kW (3 HP) AC Drive | Panel Mount - IP20, NEMA/UL Type Open | 2024-10-01 | 25A-B011N104 | PowerFlex 523 2.2kW (3Hp) AC Drive
22A-B017F104 | PowerFlex 4 3.7 kW (5 Hp) AC Drive | Flange Mount - IP20, NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22A-B017H204 | PowerFlex 4- 3.7 kW (5 HP) AC Drive | Plate Drive - IP20,NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22A-B017N104 | PowerFlex 4- 3.7 kW (5 HP) AC Drive | Panel Mount - IP20, NEMA/UL Type Open | 2024-10-01 | 25A-B017N104 | PowerFlex 523 4kW (5Hp) AC Drive
22A-B1P5F104 | PowerFlex 4 0.2 kW (0.25 Hp) AC Drive | Flange Mount - IP20, NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22A-B1P5H204 | PowerFlex 4 0.2 kW (0.25 Hp) AC Drive | Plate Drive - IP20,NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22A-B1P5N104 | PowerFlex 4- 0.2 kW (0.25 HP) AC Drive | Panel Mount - IP20, NEMA/UL Type Open | 2024-10-01 | 25A-B1P6N104 | PowerFlex 523 0.2kW (0.25Hp) AC Drive
22A-B2P3F104 | PowerFlex 4 0.4 kW (0.5 Hp) AC Drive | Flange Mount - IP20, NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22A-B2P3H204 | PowerFlex 4 0.4 kW (0.5 Hp) AC Drive | Plate Drive - IP20,NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22A-B2P3N104 | PowerFlex 4- 0.4 kW (0.5 HP) AC Drive | Panel Mount - IP20, NEMA/UL Type Open | 2024-10-01 | 25A-B2P5N104 | PowerFlex 523 0.4kW (0.5Hp) AC Drive
22A-B4P5F104 | PowerFlex 4 0.75 kW (1 Hp) AC Drive | Flange Mount - IP20, NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22A-B4P5H204 | PowerFlex 4 0.75 kW (1 Hp) AC Drive | Plate Drive - IP20,NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22A-B4P5N104 | PowerFlex 4- 0.75 kW (1 HP) AC Drive | Panel Mount - IP20, NEMA/UL Type Open | 2024-10-01 | 25A-B5P0N104 | PowerFlex 523 0.75kW (1Hp) AC Drive
22A-B8P0F104 | PowerFlex 4 1.5 kW (2 Hp) AC Drive | Flange Mount - IP20, NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22A-B8P0H204 | PowerFlex 4 1.5 kW (2 Hp) AC Drive | Plate Drive - IP20,NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22A-B8P0N104 | PowerFlex 4 1.5 kW (2 Hp) AC Drive | Panel Mount - IP20, NEMA/UL Type Open | 2024-10-01 | 25A-B8P0N104 | PowerFlex 523 1.5kW (2Hp) AC Drive
22A-D1P4F104 | PowerFlex 4 0.4 kW (0.5 Hp) AC Drive | Flange Mount - IP20, NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22A-D1P4H204 | PowerFlex 4- 0.4 kW (0.5 HP) AC Drive | Plate Drive - IP20,NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22A-D1P4N104 | PowerFlex 4- 0.4 kW (0.5 HP) AC Drive | Panel Mount - IP20, NEMA/UL Type Open | 2024-10-01 | 25A-D1P4N104 | PowerFlex 523 0.4kW (0.5Hp) AC Drive
22A-D2P3F104 | PowerFlex 4 0.75 kW (1 Hp) AC Drive | Flange Mount - IP20, NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22A-D2P3H204 | PowerFlex 4- 0.75 kW (1 HP) AC Drive | Plate Drive - IP20,NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22A-D2P3N104 | PowerFlex 4- 0.75 kW (1 HP) AC Drive | Panel Mount - IP20, NEMA/UL Type Open | 2024-10-01 | 25A-D2P3N104 | PowerFlex 523 0.75kW (1Hp) AC Drive
22A-D4P0F104 | PowerFlex 4 1.5 kW (2 Hp) AC Drive | Flange Mount - IP20, NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22A-D4P0H204 | PowerFlex 4- 1.5 kW (2 HP) AC Drive | Plate Drive - IP20,NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22A-D4P0N104 | PowerFlex 4- 1.5 kW (2 HP) AC Drive | Panel Mount - IP20, NEMA/UL Type Open | 2024-10-01 | 25A-D4P0N104 | PowerFlex 523 1.5kW (2Hp) AC Drive
22A-D6P0F104 | PowerFlex 4 2.2 kW (3 Hp) AC Drive | Flange Mount - IP20, NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22A-D6P0H204 | PowerFlex 4- 2.2 kW (3 HP) AC Drive | Plate Drive - IP20,NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22A-D6P0N104 | PowerFlex 4 2.2 kW (3 Hp) AC Drive | Panel Mount - IP20, NEMA/UL Type Open | 2024-10-01 | 25A-D6P0N104 | PowerFlex 523 2.2kW (3Hp) AC Drive
22A-D8P7F104 | PowerFlex 4 3.7 kW (5 Hp) AC Drive | Flange Mount - IP20, NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22A-D8P7H204 | PowerFlex 4 3.7 kW (5 Hp) AC Drive | Plate Drive - IP20,NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22A-D8P7N104 | PowerFlex 4 3.7 kW (5 Hp) AC Drive | Panel Mount - IP20, NEMA/UL Type Open | 2024-10-01 | 25A-D010N104 | PowerFlex 523 4kW (5Hp) AC Drive
22A-V1P5F104 | PowerFlex 4 0.2 kW (0.25 Hp) AC Drive | Flange Mount - IP20, NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22A-V1P5H204 | PowerFlex 4 0.2 kW (0.25 Hp) AC Drive | Plate Drive - IP20,NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22A-V1P5N104 | PowerFlex 4- 0.2 kW (0.25 HP) AC Drive | Panel Mount - IP20, NEMA/UL Type Open | 2024-10-01 | 25A-V1P6N104 | PowerFlex 523 0.2kW (0.25Hp) AC Drive
22A-V2P3F104 | PowerFlex 4 0.4 kW (0.5 Hp) AC Drive | Flange Mount - IP20, NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22A-V2P3H204 | PowerFlex 4 0.4 kW (0.5 Hp) AC Drive | Plate Drive - IP20,NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22A-V2P3N104 | PowerFlex 4- 0.4 kW (0.5 HP) AC Drive | Panel Mount - IP20, NEMA/UL Type Open | 2024-10-01 | 25A-V2P5N104 | PowerFlex 523 0.4kW (0.5Hp) AC Drive
22A-V4P5F104 | PowerFlex 4 0.75 kW (1 Hp) AC Drive | Flange Mount - IP20, NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22A-V4P5H204 | PowerFlex 4 0.75 kW (1 Hp) AC Drive | Plate Drive - IP20,NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22A-V4P5N104 | PowerFlex 4- 0.75 kW (1 HP) AC Drive | Panel Mount - IP20, NEMA/UL Type Open | 2024-10-01 | 25A-V4P8N104 | PowerFlex 523 0.75kW (1Hp) AC Drive
22A-V6P0F104 | PowerFlex 4 1.1 kW (1.5 Hp) AC Drive | Flange Mount - IP20, NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22A-V6P0H204 | PowerFlex 4 1.1 kW (1.5 Hp) AC Drive | Plate Drive - IP20,NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22A-V6P0N104 | PowerFlex 4- 1.1 kW (1.5 HP) AC Drive | Panel Mount - IP20, NEMA/UL Type Open | 2024-10-01 | 25A-V6P0N104 | PowerFlex 523 1.1kW (1.5Hp) AC Drive
22B-A012F104 | PowerFlex 40 2.2 kW (3 Hp) AC Drive | Flange Mount - IP20, NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22B-A012H204 | PowerFlex 40 2.2 kW (3 Hp) AC Drive | Plate Drive - IP20,NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22B-A012N104 | PowerFlex 40- 2.2 kW (3 HP) AC Drive | Panel Mount - IP20, NEMA/UL Type Open | 2024-10-01 | 25B-A011N104 | PowerFlex 525 2.2kW (3Hp) AC Drive
22B-A012N114 | PowerFlex 40- 2.2 kW (3 HP) AC Drive | Panel Mount - IP20, NEMA/UL Type Open | 2024-10-01 | 25B-A011N114 | PowerFlex 525 2.2kW (3Hp) AC Drive
22B-A2P3C104 | PowerFlex 40- 0.4 kW (0.5 HP) AC Drive | Panel Mount - IP66, NEMA/UL Type 4X | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22B-A2P3F104 | PowerFlex 40 0.4 kW (0.5 Hp) AC Drive | Flange Mount - IP20, NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22B-A2P3H204 | PowerFlex 40 0.4 kW (0.5 Hp) AC Drive | Plate Drive - IP20,NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22B-A2P3N104 | PowerFlex 40- 0.4 kW (0.5 HP) AC Drive | Panel Mount - IP20, NEMA/UL Type Open | 2024-10-01 | 25B-A2P5N104 | PowerFlex 525 0.4kW (0.5Hp) AC Drive
22B-A2P3N114 | PowerFlex 40- 0.4 kW (0.5 HP) AC Drive | Panel Mount - IP20, NEMA/UL Type Open | 2024-10-01 | 25B-A2P5N114 | PowerFlex 525 0.4kW (0.5Hp) AC Drive
22B-A5P0C104 | PowerFlex 40- 0.75 kW (1 HP) AC Drive | Panel Mount - IP66, NEMA/UL Type 4X | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22B-A5P0F104 | PowerFlex 40 0.75 kW (1 Hp) AC Drive | Flange Mount - IP20, NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22B-A5P0H204 | PowerFlex 40 0.75 kW (1 Hp) AC Drive | Plate Drive - IP20,NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22B-A5P0N104 | PowerFlex 40- 0.75 kW (1 HP) AC Drive | Panel Mount - IP20, NEMA/UL Type Open | 2024-10-01 | 25B-A4P8N104 | PowerFlex 525 0.75kW (1Hp) AC Drive
22B-A5P0N114 | PowerFlex 40- 0.75 kW (1 HP) AC Drive | Panel Mount - IP20, NEMA/UL Type Open | 2024-10-01 | 25B-A4P8N114 | PowerFlex 525 0.75kW (1Hp) AC Drive
22B-A8P0C104 | PowerFlex 40 1.5 kW (2 Hp) AC Drive | Panel Mount - IP66, NEMA/UL Type 4X | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22B-A8P0F104 | PowerFlex 40 1.5 kW (2 Hp) AC Drive | Flange Mount - IP20, NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22B-A8P0H204 | PowerFlex 40 1.5 kW (2 Hp) AC Drive | Plate Drive - IP20,NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22B-A8P0N104 | PowerFlex 40- 1.5 kW (2 HP) AC Drive | Panel Mount - IP20, NEMA/UL Type Open | 2024-10-01 | 25B-A8P0N104 | PowerFlex 525 1.5kW (2Hp) AC Drive
22B-A8P0N114 | PowerFlex 40- 1.5 kW (2 HP) AC Drive | Panel Mount - IP20, NEMA/UL Type Open | 2024-10-01 | 25B-A8P0N114 | PowerFlex 525 1.5kW (2Hp) AC Drive
22B-B012C104 | PowerFlex 40- 2.2 kW (3 HP) AC Drive | Panel Mount - IP66, NEMA/UL Type 4X | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22B-B012F104 | PowerFlex 40 2.2 kW (3 Hp) AC Drive | Flange Mount - IP20, NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22B-B012H204 | PowerFlex 40- 2.2 kW (3 HP) AC Drive | Plate Drive - IP20,NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22B-B012N104 | PowerFlex 40- 2.2 kW (3 HP) AC Drive | Panel Mount - IP20, NEMA/UL Type Open | 2024-10-01 | 25B-B011N104 | PowerFlex 525 2.2kW (3Hp) AC Drive
22B-B017C104 | PowerFlex 40- 3.7 kW (5 HP) AC Drive | Panel Mount - IP66, NEMA/UL Type 4X | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22B-B017F104 | PowerFlex 40 3.7 kW (5 Hp) AC Drive | Flange Mount - IP20, NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22B-B017H204 | PowerFlex 40 3.7 kW (5 Hp) AC Drive | Plate Drive - IP20,NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22B-B017N104 | PowerFlex 40- 3.7 kW (5 HP) AC Drive | Panel Mount - IP20, NEMA/UL Type Open | 2024-10-01 | 25B-B017N104 | PowerFlex 525 4kW (5Hp) AC Drive
22B-B024F104 | PowerFlex 40 5.5 kW (7.5 Hp) AC Drive | Flange Mount - IP20, NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22B-B024H204 | PowerFlex 40 5.5 kW (7.5 Hp) AC Drive | Plate Drive - IP20,NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22B-B024N104 | PowerFlex 40- 5.5 kW (7.5 HP) AC Drive | Panel Mount - IP20, NEMA/UL Type Open | 2024-10-01 | 25B-B024N104 | PowerFlex 525 5.5kW (7.5Hp) AC Drive
22B-B033F104 | PowerFlex 40 7.5 kW (10 Hp) AC Drive | Flange Mount - IP20, NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22B-B033H204 | PowerFlex 40 7.5 kW (10 Hp) AC Drive | Plate Drive - IP20,NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22B-B033N104 | PowerFlex 40- 7.5 kW (10 HP) AC Drive | Panel Mount - IP20, NEMA/UL Type Open | 2024-10-01 | 25B-B032N104 | PowerFlex 525 7.5kW (10Hp) AC Drive
22B-B2P3C104 | PowerFlex 40- 0.4 kW (0.5 HP) AC Drive | Panel Mount - IP66, NEMA/UL Type 4X | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22B-B2P3F104 | PowerFlex 40 0.4 kW (0.5 Hp) AC Drive | Flange Mount - IP20, NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22B-B2P3H204 | PowerFlex 40 0.4 kW (0.5 Hp) AC Drive | Plate Drive - IP20,NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22B-B2P3N104 | PowerFlex 40- 0.4 kW (0.5 HP) AC Drive | Panel Mount - IP20, NEMA/UL Type Open | 2024-10-01 | 25B-B2P5N104 | PowerFlex 525 0.4kW (0.5Hp) AC Drive
22B-B5P0C104 | PowerFlex 40- 0.75 kW (1 HP) AC Drive | Panel Mount - IP66, NEMA/UL Type 4X | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22B-B5P0F104 | PowerFlex 40 0.75 kW (1 Hp) AC Drive | Flange Mount - IP20, NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22B-B5P0H204 | PowerFlex 40 0.75 kW (1 Hp) AC Drive | Plate Drive - IP20,NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22B-B5P0N104 | PowerFlex 40- 0.75 kW (1 HP) AC Drive | Panel Mount - IP20, NEMA/UL Type Open | 2024-10-01 | 25B-B5P0N104 | PowerFlex 525 0.75kW (1Hp) AC Drive
22B-B8P0C104 | PowerFlex 40- 1.5 kW (2 HP) AC Drive | Panel Mount - IP66, NEMA/UL Type 4X | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22B-B8P0F104 | PowerFlex 40 1.5 kW (2 Hp) AC Drive | Flange Mount - IP20, NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22B-B8P0H204 | PowerFlex 40 1.5 kW (2 Hp) AC Drive | Plate Drive - IP20,NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22B-B8P0N104 | PowerFlex 40- 1.5 kW (2 HP) AC Drive | Panel Mount - IP20, NEMA/UL Type Open | 2024-10-01 | 25B-B8P0N104 | PowerFlex 525 1.5kW (2Hp) AC Drive
22B-D010C104 | PowerFlex 40- 4 kW (5 HP) AC Drive | Panel Mount - IP66, NEMA/UL Type 4X | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22B-D010F104 | PowerFlex 40 4 kW (5 Hp) AC Drive | Flange Mount - IP20, NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22B-D010H204 | PowerFlex 40- 4 kW (5 HP) AC Drive | Plate Drive - IP20,NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22B-D010N104 | PowerFlex 40- 4 kW (5 HP) AC Drive | Panel Mount - IP20, NEMA/UL Type Open | 2024-10-01 | 25B-D010N104 | PowerFlex 525 4kW (5Hp) AC Drive
22B-D012F104 | PowerFlex 40 5.5 kW (7.5 Hp) AC Drive | Flange Mount - IP20, NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22B-D012H204 | PowerFlex 40- 5.5 kW (7.5 HP) AC Drive | Plate Drive - IP20,NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22B-D012N104 | PowerFlex 40- 5.5 kW (7.5 HP) AC Drive | Panel Mount - IP20, NEMA/UL Type Open | 2024-10-01 | 25B-D013N104 | PowerFlex 525 5.5kW (7.5Hp) AC Drive
22B-D017F104 | PowerFlex 40 7.5 kW (10 Hp) AC Drive | Flange Mount - IP20, NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22B-D017H204 | PowerFlex 40- 7.5 kW (10 HP) AC Drive | Plate Drive - IP20,NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22B-D017N104 | PowerFlex 40- 7.5 kW (10 HP) AC Drive | Panel Mount - IP20, NEMA/UL Type Open | 2024-10-01 | 25B-D017N104 | PowerFlex 525 7.5kW (10Hp) AC Drive
22B-D024F104 | PowerFlex 40 11 kW (15 Hp) AC Drive | Flange Mount - IP20, NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22B-D024H204 | PowerFlex 40- 11 kW (15 HP) AC Drive | Plate Drive - IP20,NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22B-D024N104 | PowerFlex 40- 11 kW (15 HP) AC Drive | Panel Mount - IP20, NEMA/UL Type Open | 2024-10-01 | 25B-D024N104 | PowerFlex 525 11kW (15Hp) AC Drive
22B-D1P4C104 | PowerFlex 40- 0.4 kW (0.5 HP) AC Drive | Panel Mount - IP66, NEMA/UL Type 4X | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22B-D1P4F104 | PowerFlex 40 0.4 kW (0.5 Hp) AC Drive | Flange Mount - IP20, NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22B-D1P4H204 | PowerFlex 40- 0.4 kW (0.5 HP) AC Drive | Plate Drive - IP20,NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22B-D1P4N104 | PowerFlex 40- 0.4 kW (0.5 HP) AC Drive | Panel Mount - IP20, NEMA/UL Type Open | 2024-10-01 | 25B-D1P4N104 | PowerFlex 525 0.4kW (0.5Hp) AC Drive
22B-D2P3C104 | PowerFlex 40- 0.75 kW (1 HP) AC Drive | Panel Mount - IP66, NEMA/UL Type 4X | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22B-D2P3F104 | PowerFlex 40 0.75 kW (1 Hp) AC Drive | Flange Mount - IP20, NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22B-D2P3H204 | PowerFlex 40- 0.75 kW (1 HP) AC Drive | Plate Drive - IP20,NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22B-D2P3N104 | PowerFlex 40- 0.75 kW (1 HP) AC Drive | Panel Mount - IP20, NEMA/UL Type Open | 2024-10-01 | 25B-D2P3N104 | PowerFlex 525 0.75kW (1Hp) AC Drive
22B-D4P0C104 | PowerFlex 40- 1.5 kW (2 HP) AC Drive | Panel Mount - IP66, NEMA/UL Type 4X | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22B-D4P0F104 | PowerFlex 40 1.5 kW (2 Hp) AC Drive | Flange Mount - IP20, NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22B-D4P0H204 | PowerFlex 40- 1.5 kW (2 HP) AC Drive | Plate Drive - IP20,NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22B-D4P0N104 | PowerFlex 40- 1.5 kW (2 HP) AC Drive | Panel Mount - IP20, NEMA/UL Type Open | 2024-10-01 | 25B-D4P0N104 | PowerFlex 525 1.5kW (2Hp) AC Drive
22B-D6P0C104 | PowerFlex 40- 2.2 kW (3 HP) AC Drive | Panel Mount - IP66, NEMA/UL Type 4X | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22B-D6P0F104 | PowerFlex 40 2.2 kW (3 Hp) AC Drive | Flange Mount - IP20, NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22B-D6P0H204 | PowerFlex 40- 2.2 kW (3 HP) AC Drive | Plate Drive - IP20,NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22B-D6P0N104 | PowerFlex 40- 2.2 kW (3 HP) AC Drive | Panel Mount - IP20, NEMA/UL Type Open | 2024-10-01 | 25B-D6P0N104 | PowerFlex 525 2.2kW (3Hp) AC Drive
22B-E012F104 | PowerFlex 40 7.5 kW (10 Hp) AC Drive | Flange Mount - IP20, NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22B-E012H204 | PowerFlex 40 7.5 kW (10 Hp) AC Drive | Plate Drive - IP20,NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22B-E012N104 | PowerFlex 40- 7.5 kW (10 HP) AC Drive | Panel Mount - IP20, NEMA/UL Type Open | 2024-10-01 | 25B-E012N104 | PowerFlex 525 7.5kW (10Hp) AC Drive
22B-E019F104 | PowerFlex 40 11 kW (15 Hp) AC Drive | Flange Mount - IP20, NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22B-E019H204 | PowerFlex 40 11 kW (15 Hp) AC Drive | Plate Drive - IP20,NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22B-E019N104 | PowerFlex 40- 11 kW (15 HP) AC Drive | Panel Mount - IP20, NEMA/UL Type Open | 2024-10-01 | 25B-E019N104 | PowerFlex 525 11kW (15Hp) AC Drive
22B-E1P7C104 | PowerFlex 40 0.75 kW (1 Hp) AC Drive | Panel Mount - IP66, NEMA/UL Type 4X | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22B-E1P7F104 | PowerFlex 40 0.75 kW (1 Hp) AC Drive | Flange Mount - IP20, NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22B-E1P7H204 | PowerFlex 40 0.75 kW (1 Hp) AC Drive | Plate Drive - IP20,NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22B-E1P7N104 | PowerFlex 40- 0.75 kW (1 HP) AC Drive | Panel Mount - IP20, NEMA/UL Type Open | 2024-10-01 | 25B-E1P7N104 | PowerFlex 525 0.75kW (1Hp) AC Drive
22B-E3P0C104 | PowerFlex 40 1.5 kW (2 Hp) AC Drive | Panel Mount - IP66, NEMA/UL Type 4X | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22B-E3P0F104 | PowerFlex 40 1.5 kW (2 Hp) AC Drive | Flange Mount - IP20, NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22B-E3P0H204 | PowerFlex 40 1.5 kW (2 Hp) AC Drive | Plate Drive - IP20,NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22B-E3P0N104 | PowerFlex 40- 1.5 kW (2 HP) AC Drive | Panel Mount - IP20, NEMA/UL Type Open | 2024-10-01 | 25B-E3P0N104 | PowerFlex 525 1.5kW (2Hp) AC Drive
22B-E4P2C104 | PowerFlex 40 2.2 kW (3 Hp) AC Drive | Panel Mount - IP66, NEMA/UL Type 4X | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22B-E4P2F104 | PowerFlex 40 2.2 kW (3 Hp) AC Drive | Flange Mount - IP20, NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22B-E4P2H204 | PowerFlex 40 2.2 kW (3 Hp) AC Drive | Plate Drive - IP20,NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22B-E4P2N104 | PowerFlex 40- 2.2 kW (3 HP) AC Drive | Panel Mount - IP20, NEMA/UL Type Open | 2024-10-01 | 25B-E4P2N104 | PowerFlex 525 2.2kW (3Hp) AC Drive
22B-E6P6C104 | PowerFlex 40 4 kW (5 Hp) AC Drive | Panel Mount - IP66, NEMA/UL Type 4X | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22B-E6P6F104 | PowerFlex 40 4 kW (5 Hp) AC Drive | Flange Mount - IP20, NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22B-E6P6H204 | PowerFlex 40 4 kW (5 Hp) AC Drive | Plate Drive - IP20,NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22B-E6P6N104 | PowerFlex 40- 4 kW (5 HP) AC Drive | Panel Mount - IP20, NEMA/UL Type Open | 2024-10-01 | 25B-E6P6N104 | PowerFlex 525 4kW (5Hp) AC Drive
22B-E9P9F104 | PowerFlex 40 5.5 kW (7.5 Hp) AC Drive | Flange Mount - IP20, NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22B-E9P9H204 | PowerFlex 40 5.5 kW (7.5 Hp) AC Drive | Plate Drive - IP20,NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22B-E9P9N104 | PowerFlex 40- 5.5 kW (7.5 HP) AC Drive | Panel Mount - IP20, NEMA/UL Type Open | 2024-10-01 | 25B-E9P9N104 | PowerFlex 525 5.5kW (7.5Hp) AC Drive
22B-V2P3C104 | PowerFlex 40- 0.4 kW (0.5 HP) AC Drive | Panel Mount - IP66, NEMA/UL Type 4X | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22B-V2P3F104 | PowerFlex 40 0.4 kW (0.5 Hp) AC Drive | Flange Mount - IP20, NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22B-V2P3H204 | PowerFlex 40 0.4 kW (0.5 Hp) AC Drive | Plate Drive - IP20,NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22B-V2P3N104 | PowerFlex 40- 0.4 kW (0.5 HP) AC Drive | Panel Mount - IP20, NEMA/UL Type Open | 2024-10-01 | 25B-V2P5N104 | PowerFlex 525 0.4kW (0.5Hp) AC Drive
22B-V5P0C104 | PowerFlex 40- 0.75 kW (1 HP) AC Drive | Panel Mount - IP66, NEMA/UL Type 4X | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22B-V5P0F104 | PowerFlex 40 0.75 kW (1 Hp) AC Drive | Flange Mount - IP20, NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22B-V5P0H204 | PowerFlex 40 0.75 kW (1 Hp) AC Drive | Plate Drive - IP20,NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22B-V5P0N104 | PowerFlex 40- 0.75 kW (1 HP) AC Drive | Panel Mount - IP20, NEMA/UL Type Open | 2024-10-01 | 25B-V4P8N104 | PowerFlex 525 0.75kW (1Hp) AC Drive
22B-V6P0C104 | PowerFlex 40 1.1 kW (1.5 Hp) AC Drive | Panel Mount - IP66, NEMA/UL Type 4X | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22B-V6P0F104 | PowerFlex 40 1.1 kW (1.5 Hp) AC Drive | Flange Mount - IP20, NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22B-V6P0H204 | PowerFlex 40 1.1 kW (1.5 Hp) AC Drive | Plate Drive - IP20,NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22B-V6P0N104 | PowerFlex 40- 1.1 kW (1.5 HP) AC Drive | Panel Mount - IP20, NEMA/UL Type Open | 2024-10-01 | 25B-V6P0N104 | PowerFlex 525 1.1kW (1.5Hp) AC Drive
22D-B012H204 | PowerFlex 40P 2.2 kW (3 Hp) AC Drive | Plate Drive - IP20,NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22D-B012N104 | PowerFlex 40P- 2.2 kW (3 HP) AC Drive | Panel Mount - IP20, NEMA/UL Type Open | 2024-10-01 | 25B-B011N104 | PowerFlex 525 2.2kW (3Hp) AC Drive
22D-B017H204 | PowerFlex 40P 3.7 kW (5 Hp) AC Drive | Plate Drive - IP20,NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22D-B017N104 | PowerFlex 40P- 3.7 kW (5 HP) AC Drive | Panel Mount - IP20, NEMA/UL Type Open | 2024-10-01 | 25B-B017N104 | PowerFlex 525 4kW (5Hp) AC Drive
22D-B024F104 | PowerFlex 40P 5.5 kW (7.5 Hp) AC Drive | Flange Mount - IP20, NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22D-B024H204 | PowerFlex 40P 5.5 kW (7.5 Hp) AC Drive | Plate Drive - IP20,NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22D-B024N104 | PowerFlex 40P- 5.5 kW (7.5 HP) AC Drive | Panel Mount - IP20, NEMA/UL Type Open | 2024-10-01 | 25B-B024N104 | PowerFlex 525 5.5kW (7.5Hp) AC Drive
22D-B033H204 | PowerFlex 40P 7.5 kW (10 Hp) AC Drive | Plate Drive - IP20,NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22D-B033N104 | PowerFlex 40P- 7.5 kW (10 HP) AC Drive | Panel Mount - IP20, NEMA/UL Type Open | 2024-10-01 | 25B-B032N104 | PowerFlex 525 7.5kW (10Hp) AC Drive
22D-B2P3F104 | PowerFlex 40P 0.4 kW (0.5 Hp) AC Drive | Flange Mount - IP20, NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22D-B2P3H204 | PowerFlex 40P 0.4 kW (0.5 Hp) AC Drive | Plate Drive - IP20,NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22D-B2P3N104 | PowerFlex 40P- 0.4 kW (0.5 HP) AC Drive | Panel Mount - IP20, NEMA/UL Type Open | 2024-10-01 | 25B-B2P5N104 | PowerFlex 525 0.4kW (0.5Hp) AC Drive
22D-B5P0H204 | PowerFlex 40P 0.75 kW (1 Hp) AC Drive | Plate Drive - IP20,NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22D-B5P0N104 | PowerFlex 40P- 0.75 kW (1 HP) AC Drive | Panel Mount - IP20, NEMA/UL Type Open | 2024-10-01 | 25B-B5P0N104 | PowerFlex 525 0.75kW (1Hp) AC Drive
22D-B8P0F104 | PowerFlex 40P 1.5 kW (2 Hp) AC Drive | Flange Mount - IP20, NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22D-B8P0H204 | PowerFlex 40P 1.5 kW (2 Hp) AC Drive | Plate Drive - IP20,NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22D-B8P0N104 | PowerFlex 40P- 1.5 kW (2 HP) AC Drive | Panel Mount - IP20, NEMA/UL Type Open | 2024-10-01 | 25B-B8P0N104 | PowerFlex 525 1.5kW (2Hp) AC Drive
22D-D010F104 | PowerFlex 40P 4 kW (5 Hp) AC Drive | Flange Mount - IP20, NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22D-D010H204 | PowerFlex 40P 4 kW (5 Hp) AC Drive | Plate Drive - IP20,NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22D-D010N104 | PowerFlex 40P- 4 kW (5 HP) AC Drive | Panel Mount - IP20, NEMA/UL Type Open | 2024-10-01 | 25B-D010N104 | PowerFlex 525 4kW (5Hp) AC Drive
22D-D012F104 | PowerFlex 40P 5.5 kW (7.5 Hp) AC Drive | Flange Mount - IP20, NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22D-D012H204 | PowerFlex 40P 5.5 kW (7.5 Hp) AC Drive | Plate Drive - IP20,NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22D-D012N104 | PowerFlex 40P- 5.5 kW (7.5 HP) AC Drive | Panel Mount - IP20, NEMA/UL Type Open | 2024-10-01 | 25B-D013N104 | PowerFlex 525 5.5kW (7.5Hp) AC Drive
22D-D017H204 | PowerFlex 40P 7.5 kW (10 Hp) AC Drive | Plate Drive - IP20,NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22D-D017N104 | PowerFlex 40P- 7.5 kW (10 HP) AC Drive | Panel Mount - IP20, NEMA/UL Type Open | 2024-10-01 | 25B-D017N104 | PowerFlex 525 7.5kW (10Hp) AC Drive
22D-D024F104 | PowerFlex 40P 11 kW (15 Hp) AC Drive | Flange Mount - IP20, NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22D-D024H204 | PowerFlex 40P 11 kW (15 Hp) AC Drive | Plate Drive - IP20,NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22D-D024N104 | PowerFlex 40P- 11 kW (15 HP) AC Drive | Panel Mount - IP20, NEMA/UL Type Open | 2024-10-01 | 25B-D024N104 | PowerFlex 525 11kW (15Hp) AC Drive
22D-D1P4F104 | PowerFlex 40P 0.4 kW (0.5 Hp) AC Drive | Flange Mount - IP20, NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22D-D1P4H204 | PowerFlex 40P 0.4 kW (0.5 Hp) AC Drive | Plate Drive - IP20,NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22D-D1P4N104 | PowerFlex 40P- 0.4 kW (0.5 HP) AC Drive | Panel Mount - IP20, NEMA/UL Type Open | 2024-10-01 | 25B-D1P4N104 | PowerFlex 525 0.4kW (0.5Hp) AC Drive
22D-D2P3F104 | PowerFlex 40P 0.75 kW (1 Hp) AC Drive | Flange Mount - IP20, NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22D-D2P3H204 | PowerFlex 40P- 0.75 kW (1 HP) AC Drive | Plate Drive - IP20,NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22D-D2P3N104 | PowerFlex 40P- 0.75 kW (1 HP) AC Drive | Panel Mount - IP20, NEMA/UL Type Open | 2024-10-01 | 25B-D2P3N104 | PowerFlex 525 0.75kW (1Hp) AC Drive
22D-D4P0F104 | PowerFlex 40P 1.5 kW (2 Hp) AC Drive | Flange Mount - IP20, NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22D-D4P0H204 | PowerFlex 40P- 1.5 kW (2 HP) AC Drive | Plate Drive - IP20,NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22D-D4P0N104 | PowerFlex 40P- 1.5 kW (2 HP) AC Drive | Panel Mount - IP20, NEMA/UL Type Open | 2024-10-01 | 25B-D4P0N104 | PowerFlex 525 1.5kW (2Hp) AC Drive
22D-D6P0F104 | PowerFlex 40P 2.2 kW (3 Hp) AC Drive | Flange Mount - IP20, NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22D-D6P0H204 | PowerFlex 40P- 2.2 kW (3 HP) AC Drive | Plate Drive - IP20,NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22D-D6P0N104 | PowerFlex 40P- 2.2 kW (3 HP) AC Drive | Panel Mount - IP20, NEMA/UL Type Open | 2024-10-01 | 25B-D6P0N104 | PowerFlex 525 2.2kW (3Hp) AC Drive
22D-E012H204 | PowerFlex 40P 7.5 kW (10 Hp) AC Drive | Plate Drive - IP20,NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22D-E012N104 | PowerFlex 40P 7.5 kW (10 Hp) AC Drive | Panel Mount - IP20, NEMA/UL Type Open | 2024-10-01 | 25B-E012N104 | PowerFlex 525 7.5kW (10Hp) AC Drive
22D-E019H204 | PowerFlex 40P 11 kW (15 Hp) AC Drive | Plate Drive - IP20,NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22D-E019N104 | PowerFlex 40P 11 kW (15 Hp) AC Drive | Panel Mount - IP20, NEMA/UL Type Open | 2024-10-01 | 25B-E019N104 | PowerFlex 525 11kW (15Hp) AC Drive
22D-E1P7H204 | PowerFlex 40P 0.75 kW (1 Hp) AC Drive | Plate Drive - IP20,NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22D-E1P7N104 | PowerFlex 40P- 0.75 kW (1 HP) AC Drive | Panel Mount - IP20, NEMA/UL Type Open | 2024-10-01 | 25B-E1P7N104 | PowerFlex 525 0.75kW (1Hp) AC Drive
22D-E3P0F104 | PowerFlex 40P 1.5 kW (2 Hp) AC Drive | Flange Mount - IP20, NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22D-E3P0H204 | PowerFlex 40P 1.5 kW (2 Hp) AC Drive | Plate Drive - IP20,NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22D-E3P0N104 | PowerFlex 40P- 1.5 kW (2 HP) AC Drive | Panel Mount - IP20, NEMA/UL Type Open | 2024-10-01 | 25B-E3P0N104 | PowerFlex 525 1.5kW (2Hp) AC Drive
22D-E4P2H204 | PowerFlex 40P 2.2 kW (3 Hp) AC Drive | Plate Drive - IP20,NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22D-E4P2N104 | PowerFlex 40P- 2.2 kW (3 HP) AC Drive | Panel Mount - IP20, NEMA/UL Type Open | 2024-10-01 | 25B-E4P2N104 | PowerFlex 525 2.2kW (3Hp) AC Drive
22D-E6P6H204 | PowerFlex 40P 4 kW (5 Hp) AC Drive | Plate Drive - IP20,NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22D-E6P6N104 | PowerFlex 40P- 4 kW (5 HP) AC Drive | Panel Mount - IP20, NEMA/UL Type Open | 2024-10-01 | 25B-E6P6N104 | PowerFlex 525 4kW (5Hp) AC Drive
22D-E9P9H204 | PowerFlex 40P 5.5 kW (7.5 Hp) AC Drive | Plate Drive - IP20,NEMA/UL Type Open | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status | N/A - Product is Active Lifecycle Status
22D-E9P9N104 | PowerFlex 40P 5.5 kW (7.5 Hp) AC Drive | Panel Mount - IP20, NEMA/UL Type Open | 2024-10-01 | 25B-E9P9N104 | PowerFlex 525 5.5kW (7.5Hp) AC Drive